# Pipes & Wires

## THE JOURNAL OF ENERGY & INFRASTRUCTURE THOUGHT LEADERSHIP

## Issue 83 – June 2009

From the director…

Welcome to Pipes & Wires #83. This issue has a strong focus on energy policy matters, and includes some guesses about likely policy shifts and directions in the wake of a swing to the right in post-election Europe. Apart from that, we examine two regulatory decisions and two energy market situations.

About Utility Consultants

Utility Consultants Ltd is a management consultancy specialising in pretty much all aspects of energy and infrastructure networks – pick here to see more, or to be sent a detailed profile of recent projects, pick here.

Regulatory determinations

NZ – draft approval for the 400kV lines

Introduction

Readers (at least those in New Zealand) will be well aware of the battle over the proposed 400kV line from Whakamaru to Otahuhu. Recent articles in Pipes & Wires have examined New Era Energy’s attempt to obtain a judicial review of the Electricity Commission’s final approval, whilst this article takes a look at another key aspect – the draft decision of the Board Of Inquiry to approve the line under the Resource Management Act 1991 that was released in late May 2009.

Role of the Board Of Inquiry

Many of us remember the wailing and gnashing of teeth around getting a coordinated decision from all the District and City Councils along the line route (6 if my counting is correct). In August 2007 the Government “called in” the project, which meant that consent application would be heard by a single Board Of Inquiry. The board heard submissions from March to October 2008, and released its draft decision to grant consent on 27th May 2009.

Basis of the draft decision

The key basis for the Board’s draft decision is that although there will be some adverse effects to the Waikato landscape those adverse effects are insufficient to outweigh the benefit of the project. In particular the Board noted that whilst areas of natural beauty such as Lake Karapiro and Maungatautari need to be protected from inappropriate development, such protection was not an absolute goal to be achieved at all costs.

Next steps

The Board’s draft decision and conditions are open to public comment for 20 days. The Board will then consider any issues and concerns raised and release its final decision later in 2009.

Aus – amending the service incentive scheme

Introduction

Under the National Electricity Rules (NER), the Australian Energy Regulator (AER) is required to develop a Service Target Performance Incentive Scheme (STPIS) as part of a suite of instruments designed to improve the regulation of electricity lines businesses. This article examines the AER’s recent revision of the STIPS to address what it acknowledges as a material error.

What exactly is the STPIS ?

NER 6.6.2 requires the AER to develop a STPIS, and sets out the requirements that the AER must comply with in developing the STPIS. In broad terms the STPIS provides a financial reward for maintaining or improving service levels instead of leaving lines businesses to improve their profitability by chiseling costs. A key core component of the STPIS is the s-factor which scales the rewards applicable to actual performance relative to targets.

Concerns with the original STPIS

Several concerns were raised over specific elements of the original STPIS, including...

- The carry-over mechanism that could incentivise lines businesses to lower their target service levels to make subsequent years targets more achievable.

- The inclusion of a cap on the revenue at risk, which reduces the incentives to improve actual performance.

- The inclusion of a time-value-of-money element in the carry-over mechanism, which was seen as unnecessarily complicating the STPIS.

- Amending some detail aspects of the major event day definition.

The revised incentive scheme

The revised incentive scheme can be examined under the following three headings...

| Component | Revised provisions |
| --- | --- |
| Reliability of supply | - The performance targets must be based on average performance over the past 5 financial years or some other measurement period as described in clause 2.4(a) of Appendix C to the Decision. - The incentive rates must be based on the Value of Customer Reliability as set out in Appendix C to the Decision. - Only the events specified in Appendix C can be included in the calculations of revenue increment or decrement. |
| Customer service | - The parameters to be considered shall include telephone answering, streetlight repairs, new connections and response to written inquiries. - The maximum revenue at risk across all four parameters shall be 1%, including a maximum of 0.5% from any 1 parameter. |
| Guaranteed service level | - The GSL scheme set out in Appendix C shall only apply in the absence of a jurisdictional requirement to have a GSL. - Applicable parameters include frequency of interruptions, streetlight repair, new connections, notice of planned interruptions and duration of interruptions. - A parameter should not be included in the GSL if it cannot be measured or the cost of measuring exceeds the likely benefits. - Thresholds for the parameters and for the payments shall be as set out in Appendix C. |

This article is by necessity a summary of a complex matter. Readers should read the Decision in its entirety before making any decisions.

Energy policy

NZ – revised Government Policy Statement

Introduction

The National Government has been in power for a bit over 7 months, so the revised Government Policy Statement on Electricity Governance released by the Minister For Energy & Resources Hon. Gerry Brownlee in May 2009 was not unexpected. This article summarises the key aspects of the revised policy.

The Minister’s announcement

In his announcement speech, Brownlee emphasised three key aspects...

- Bringing forward the section that emphasises security of supply.

- Disentangling the regulatory overlap between the Electricity Commission, Transpower and the Commerce Commission.

- A streamlined, simplified process for approving transmission investments under $20m.

Brownlee also noted that the GPS would be revised to reflect the Government’s intention to review the New Zealand Energy Strategy and assess any duplication with the New Zealand Energy Efficiency & Conservation Strategy.

Key aspects of the revised GPS

Key aspects of the revised GPS include...

| Security of supply | - An explicit acknowledgement that security of supply is critical to achieving sustainable economic development (10). - Identifying specific security of supply threats such as low hydro in-flows and low wind speeds (11). - The Electricity Commission is to ensure a mean winter energy margin of 17% nationally and 30% for the South Island (14). - The Electricity Commission should also set standards for meeting peak demand (15). |
| --- | --- |
| Consumer protection | - Domestic supply contracts should address transparency of charges (39). - The obligation of retailers to offer a low fixed charges option will remain (42). |
| Electricity efficiency | - Recognition of the importance of demand side initiatives (54). - An expectation that EECA will be the primary agency for delivering energy efficiency initiatives (56). - An expectation that appropriate incentives for managing losses and constraints will be signaled to transmission and distribution companies, and that pricing structures will provide appropriate signals (63). |
| Renewable energy | - An expectation that renewables will be promoted and encouraged and that grid planning activities will acknowledge the special characteristics of renewables (65, 66). |
| System operation | - An expectation that the Electricity Commission will oversee the development of arrangements for market participants to manage transmission loss and constraint risks (68). |
| Transmission | - An expectation of resilience and diversity of supply to large load centers (71). - That the Electricity Commission should play a leading role in establishing common standards for supply quality and reliability (74). - That Transpower should respond to customer wishes for security levels that are different to standard levels as long as the integrity of the core grid is not compromised (75). - An expectation that the Electricity Commission will apply a less rigorous analysis to grid investment projects less than $20m (88). |
| Distribution | - The Electricity Commission should develop model approaches to distribution pricing, and should investigate whether pricing methodologies discourage demand side initiatives (100). - An expectation that changes to rural line charges will be kept in line with changes to urban lines charges (102). |
| Interrelationship with Commerce Commission | - An expectation that the EC and the CC will work closely to coordinate their respective roles and ensure a minimum of uncertainty (105). |
| Distributed generation | - An expectation that the Electricity Commission will investigate the need for guidelines or standards to facilitate connection of domestic scale generation (111). - An expectation that the purchase of surplus energy by retailers will be on fair and reasonable terms (112). |
| Retail | - An expectation that the Electricity Commission will encourage retail competition (114). - An expectation that the Electricity commission will develop a model approach for the reconciliation and allocation of distribution losses (116). |

US – Ohio’s energy policy

Introduction

Every so often Pipes & Wires examines the energy policies in individual US states - so far we’ve examined Maryland, Michigan, Connecticut, Montana and California. This article examines Ohio’s energy policy.

The dominant themes so far

So far, two dominant themes have emerged from Pipes & Wires’ examinations...

- Head long charges into renewables in what appears to be a race to set the highest targets, with little apparent thought of security of supply.

- A determination to undo the supposed evils of deregulation, again with little obvious thought about the underlying issues.

So will we find anything much different when we look at Ohio ?

Key elements of Ohio’s energy policy

Ohio’s current energy policy has its basis in Senate Bill 221 that was signed into law on 1st May 2008 by Gov. Ted Strickland after a very smooth and unimpeded passage through both the Senate and the House. Key elements of the Bill include...

- An enforceable requirement to reduce energy consumption demand by 22% by 2025.

- A requirement to generate 12.5% of Ohio’s energy by clean sources (including clean coal and nuclear) by 2025, along with a requirement to generate a further 12.5% from renewables.

- Imposing a 3% premium cap on the price of alternative energy, at which point a utility’s obligation to continue to purchase alternative energy would lapse.

- A pricing regime that, at least on the face of it, would allow for some certainty of cost recovery by utilities whilst also minimising abrupt price increases to consumers.

A few comments on Ohio’s policy

If we use the Security – Price – Environment triangle as a measure of Ohio’s policy, it would seem to provide a very balanced way forward. Given that the Bill emerged from Strickland’s “Energy, Jobs & Progress” speech of August 2007 this is hardly surprising in a state that would appear to depend on price stability and security of supply to underpin its legacy smoke-stack industries. My guess is that Ohio’s policy will serve its voters a lot better than the policies of some other states.

Spain – examining the nuclear policy

Introduction

This article is one of an on-going series of articles examining the nuclear policies of various European countries, and this month we examine Spain.

Spain’s use of nuclear energy

Spain entered the nuclear era in 1964 when it began construction of the 160MW PWR plant at Jose Cabrera. Thus began Spain’s experience with PWR’s which led to the current fleet of 8 (or 7, or 9 depending on which source you read) nuclear power plants with an installed capacity of about 7,200MW. These plants generate about 53,000 GWh per year, or about 18% of Spain’s annual 306,000 GWh consumption.

Historical policy movements

Spain’s move away from nuclear power began in 1983 with a moratorium on new nuclear stations being enacted by the Socialist government that had been elected the previous year. This resulted in 5 units being abandoned at the construction phase – 2 x 900MW PWR’s at Lemoniz, 2 x 975MW General Electric BWR’s at Valdecaballeros and a 1,000MW Siemens PWR at Trillo. One of the glaringly obvious inconsistencies of this policy position – one that seems to occur regularly in Europe - was the agreement with France to import up to 1,000MW of electricity which would almost certainly be nuclear (but then we can’t let inconvenient facts stand in the way of ideology).

More recent policy movements

In 2006 Prime Minister José Luis Rodríguez Zapatero confirmed that the 8 remaining nuclear plants would be phased out in favor of renewables. However a quick examination of the phase out timetable indicates a remarkable similarity to the nominal 40 year life of a nuclear plant so it’s possible that Zapatero’s phase out might be more cautious than bold. That might prove to be wise in the long-term scheme of things.

Europe – a swing to the right

Introduction

Election of the 736 Members of the European Parliament occurred across the EU’s 27 member states in early June, with results concurring with predictions of victory for the center-right parties and thrashings for the center-left parties. This article considers the shifts in nuclear and climate change policies that might follow at an EU level.

Some background to the policy positions pre-election

Firstly we need to step back from the examination of the nuclear policies of individual EU member states which have recently featured in Pipes & Wires and obtain a clear picture of the pan-European policy. The EU began developing a common energy policy in March 2006 which included the following proposals...

- Reduction in greenhouse gas emissions to 80% of 1990 levels by 2020 and 50% by 2050.

- To develop inter alia 4th generation nuclear power. At first glance this would seem to sit uneasily with those member states that have anti-nuclear policies (but are happy to import electricity from France).

To progress this policy, a Strategic Energy Technologies (SET) Plan was developed that includes sustainable nuclear fission and work on 4th generation reactors.

Some thoughts on where policy might go

It’s obviously early days for key policy positions, but a little extrapolation of policy trends pre- and post-election in other jurisdictions would suggest...

- That a more measured response to climate change is likely to emerge. This may well be characterised by a shift towards elevating security of electricity supply as a public policy objective, a hesitancy to commit to emission reductions, and a greater recognition that the science of climate change is far from settled.

- That nuclear energy will be increasingly acceptable. This could be characterised by a dismantling of the “philosophically opposed” views, and the dilution of policy requirements for new nuclear capacity to be equally backed by renewables.

But one way or another, this could be an area where a week in politics is not a very long time.

Mergers & acquisitions

US – Allegheny sells distribution network to Co-op’s

Introduction

News emerged earlier last month that Allegheny Energy was selling its Virginia distribution business to the Rappahannock and Shenandoah Valley electric co-operatives. On the face of it this might seem like a very straightforward transaction, however the sale of a business from the investor sector to the co-operative sector raises some issues that might be worth a look at.

Background to the deal

Allegheny Energy is an investor-owned utility supplying about 1,500,000 customers in Pennsylvania, Maryland, Virginia and West Virginia through its subsidiaries West Penn, Monongahela and Potomac Edison. Rappahannock and Shenandoah are rural electric co-operatives that together supply about 139,000 customers in parts of Virginia and West Virginia. The deal will see Potomac Edison merged into Rappahannock and Shenandoah’s existing service territories.

Allegheny’s strategy for selling Potomac

The short answer is that Potomac is bleeding cash (a figure that may reach $100m). The longer explanation is that until 1st July 2007 Potomac had a capped-rate electricity purchase agreement with another Allegheny subsidiary. After the expiry of that agreement, Potomac planned to purchase electricity at market prices and expected to be able to pass on those prices to its retail customers ... so far, so good.

This all started to unravel when Virginia re-regulated its electricity industry and extended those price caps through to 31st December 2008. This left Potomac buying electricity at market prices but selling it at capped rates over the period 1st July 2007 to 31st December 2008. Potomac sought a 20% tariff increase from the Virginia State Corporations Commission (SCC) however the SCC rejected the request, arguing that Potomac’s decision to sell its generating plant to a fellow Allegheny subsidiary and assume market exposure was unwise.

What do the Co-op’s make of all this ?

Snippets in the media suggest that Rappahannock and Shenandoah are keen to emphasise the advantages of local power supply and supplier payments staying in local communities ... a slight variation on the “profits stay on Main St, not Wall St” slogan.

However, getting beneath those warm fuzzies is of course the issue of how the cash bleeding will be stopped ... Rappahannock and Shenandoah will need to either hike their retail tariffs or lessen their wholesale exposure. It appears that the SCC has granted a 6% tariff increase (which is obviously significantly less than the 20% that Potomac sought) so it’s far from clear how this will be resolved.

Another interesting issue to be considered is how will Rappahannock and Shenandoah address the commercial cost of capital embedded in the Potomac assets. Presumably the Potomac assets have been bought with real money that has a real commercial cost (or at least an opportunity cost) so it would seem unlikely that Rappahannock and Shenandoah won’t pass on that cost through their tariffs.

It will be interesting to see how the battle shakes out. My guess is that Public winning the Public-Private Battle will not be as simple as Private selling assets to Public.

Energy markets

Japan – securing gas supplies

Introduction

An emerging theme of Pipes & Wires is the increasing distance from which gas utilities are having to take supply from. This article revisits Pipes & Wires #73’s brief look at Osaka Gas’ attempt at further backward integration by taking an equity stake in Chevron’s Gorgon LNG project.

Background

Osaka Gas has 6.7m customers in the Kansai area. Traditionally Osaka relied on gas from coal and oil, but (surprisingly) has been importing LNG for about 30 years, and for the last 20 years has depended entirely on LNG imports from 6 countries. Osaka’s imports represent about 5% of the globally traded volumes.

What has become of Osaka’s attempted Gorgon stake ?

Osaka Gas has already participated in up-stream projects in Oman, Norway, Australia and Indonesia so its attempt to further secure its gas supplies by investing in additional LNG production was no surprise.

Previously Osaka was looking to take an equity stake in Gorgon after having already locked in a 25 year supply agreement. It appears, however, that Osaka’s attempt to buy an equity stake was unsuccessful.

Ireland – progress on the single electricity market

Introduction

The commencement of the Single Electricity Market in the Irish Republic and Northern Ireland on 1st November 2007 was touted as the world’s first electricity market operating between sovereign states (although I do recall the Iberian market in Spain and Portugal might have beaten them). This article follows up Pipes & Wires previous coverage in #61 and #66.

Background

The core of the SEM is a pool into which all electricity generated must be sold into, and all electricity consumed within or exported from Ireland must be purchased from. The operation of the SEM will be jointly managed by the grid operators in each jurisdiction, EirGrid and SONI respectively.

The first 18 months operation

As good a measure as any of a market’s robustness would be the price profile over time, and in particular any prolonged price spiking and the mechanisms used to investigate those spikes. A cursory analysis of system marginal prices since 1st November 2007 indicates some spiking for 1 and perhaps 2 half-hours during the winter evening peaks, but apart from that all seems stable.

So by this measure the Irish SEM seems to be working...

A bit of light reading…

Book review – “Connecting The Country”

Helen Reilly’s latest book “Connecting The Country” is a history of NZ’s national grid from 1886 to 2007 that interestingly enough splits into the development of the AC and DC systems. Filled with photos, anecdotes and witty stories this is a really worthwhile read.

Order your copy from Transpower’s web site … cost is $60 incl. GST.

Wanted – old electricity history books

If anyone has an old copy of the following books (or any similar books) they no longer want I’d be happy to give them a good home…

- White Diamonds North.

- Northwards March The Pylons.

- A Jubilee History Of The Auckland Electric Power Board (1972).

Assorted cool stuff

CapEx – general interest stuff

Levels of service and their impact on CapEx

This presentation was made at the Infrastructure CapEx Summit in November 2008. If you’d like a copy, pick here.

Upsizing – the other half of the hidden side of CapEx

This presentation was made at the Electricity Engineer’s Association conference in June 2008. If you’d like a copy, pick here.

Getting the CapEx right in the infrastructure sectors

This presentation was made at the NZIGE Spring Technical Seminar in September 2007. If you’d like a copy, pick here.

Renewals – (half) the hidden side of CapEx

This presentation was made at the Electricity Networks Asset Management Summit in November 2007 on the broad topic of asset renewals. If you’d like a copy, pick here.

PAS 55 – the emerging standard for asset management

To find out more about improving your asset management activities through adopting the emerging global standard for asset management PAS 55-1:2004 pick here or call Phil on +64-7-8546541, or to request a Slide Show on implementing PAS 55-1 pick here.

Website promoting best practice CapEx

Utility Consultants is pleased to announce the release of a specialist website dedicated to promoting best practice CapEx policies, processes and planning in the infrastructure sectors.

Assorted conference papers

Utility Consultants has recently presented the following conference papers which are available upon request…

- “Tariff control of Pipes & Wires utilities – where is it heading??” – presented at the NZIGE Spring Technical Seminar, October 2006.

- “Setting service levels for utility networks” – presented at the Electricity Network Asset Management Summit, November 2006.

House-keeping stuff

Opt out from Pipes & Wires

Pick this link to opt out from Pipes & Wires. Please ensure that you send from the email address we send Pipes & Wires to.

Disclaimer

These articles are of a general nature and are not intended as specific legal, consulting or investment advice, and are correct at the time of writing. In particular Pipes & Wires may make forward looking or speculative statements, projections or estimates of such matters as industry structural changes, merger outcomes or regulatory determinations.

Utility Consultants Ltd accepts no liability for action or inaction based on the contents of Pipes & Wires including any loss, damage or exposure to offensive material from linking to any websites contained herein.